REQUEST FOR BID

Scott County Facility & Support Services is requesting quotations for fire equipment inspections.  Bids must include quotes for annual inspection and quotes for pressure tests when necessary.  Duration of contract will be from JULY 1, 2006 TO JUNE 30, 2008

Bids should be submitted no later than 2:00 P.M., June 16, 2006.  Quotations may be faxed, mailed or hand delivered (fax number 563-326-8246) to Scott County Purchasing Department, 428 Western Ave, Dav. Ia. 52801.

Attached please find a list of equipment and equipment locations. All listings are approximate numbers. Bids should list actual cost for hood equipment and per unit costs for extinguishers. Actual payment will be based on per price as applied to the actual equipment counts from fieldwork.

SCOTT COUNTY FIRE EQUIPMENT INSPECTION BIDS

Approx.

Item	   Quantity		Description

1	          1 		Inspection of Ansul R-101-30 Fire Control System in

kitchen exhaust canopy at the Pine Knoll/Vera French

Health Care Facility, 2504 Telegraph Road, Davenport,

Iowa; semi-annual inspection.

2	          1 		Kidde HDR Fire Suppression System, located in the Scott					County Jail Kitchen area; semi-annual inspection.

3                    1	Kidde 440060K Range Guard ™ Hood Suppression System, located in the Scott County Juvenile Detention Center kitchen; semi-annual inspection.

4	         42		ABC-PCD/C02/Water Press/Halon, various lbs. (5#, 15#,

20#).  Location: Courthouse, 416 West 4th Street, Davenport, IA 52801

5	           9		Fire extinguishers:  CO2 & ABC’s.  Location:

Annex Building, 528 West 4th Street, Davenport, IA 52801

6	         35 		Fire extinguishers:  CO2 & ABC’s.  Location:  Scott 						County Jail, 428 Ripley Street, Davenport, IA 52801

7                   34	Fire extinguishers:  CO2, ABC’s & Water Press, various lbs.  Location:  Administrative Center, 428 Western                  Avenue, Davenport, IA 52801

8	         24		Fire extinguishers:  CO2, ABC’s, Water Press, various					lbs.  Location:  Pine Knoll Health Care Facility, 2504					Telegraph Road, Davenport, IA 52804

9	         15		Fire extinguishers:  ABC, various lbs.  Location:  Scott

County Sub-Station, 4715 Tremont Avenue, Davenport, IA 52806.	Includes Jail Annex, Sheriff’s Patrol and Warehouse.

INSURANCE REQUIREMENTS

The Contractor shall have in force during the period of this contract, insurance as listed below:

- Bodily Injury and Property Damage Insurance:  The CONTRACTOR shall take out and maintain during this contract, bodily injury and property damage liability insurance under a comprehensive general form and automobile injury and property damage insurance under a comprehensive general form.

The required limits of this insurance shall not be less than:

General Liability:

Personal Injury – each person			$1,000,000

Personal Injury – each occurrence			$1,000,000

Personal Injury – Aggregate				$1,000,000			Personal Damage – each occurrence including						Broadform Liability Extension			$1,000,000

Automobile Liability – Owner, Non-Owned and Hired

Vehicles:

Personal Injury – each person			$1,000,000

Personal Injury – each occurrence			$1,000,000

Personal Damage – each occurrence		$1,000,000

The above insurance shall cover the contractor’s employees, the public and Scott County employees while in the buildings and on the grounds of Scott County.

- Certificates of Insurance:  The CONTRACTOR shall deliver to Facility & Support Services, 428 Western Ave., Dav. Ia., certificates of insurance covering all above insurance in duplicate.  Such certificates shall provide ten days prior notice by registered mail of any material change in, or cancellation of this insurance.  CONTRACTOR shall maintain this coverage on a standard CGL form for the benefit of Owner and the general public throughout the term of this agreement, and if a carrier or policy is changed, CONTRACTOR shall provide Owner with a replacement Certificate of Insurance.

- Contractual liability Insurance:  The CONTRACTOR shall take out and maintain during this contract, liability insurance.

- Products and Completed Operations Liability Insurance:  The CONTRACTOR shall also take out Products and Completed Operations Liability Insurance of limits not less than any of the above limits specified in these qualifications.

- Workmen’s Compensation and Employer’s Liability:

- The CONTRACTOR shall maintain during this contract, the statutory workmen’s compensation and employer’s liability insurance for all his employees to be engaged in the maintenance work under the contract.

- The amount of Employer’s Liability Insurance shall not be less than One Million ($1,000,000).

INDEMNIFICATION

- To the fullest extent permitted by law, the CONTRACTOR shall indemnify and hold harmless the owner and their agents and employees from and against all claims, damages, losses and expenses, including but not limited to attorney’s fees, arising out of or resulting from the performance of the WORK, provided than any such claim damage, loss or expense (1) is attributed to bodily injury, sickness, disease or death or to injury to or destruction of tangible property (other than the WORK itself) including the loss of use resulting therefrom, and (2) is caused in whole or in part by any negligent act or omission of the CONTRACTOR and subcontractor, anyone directly or indirectly employed by any of them or anyone for whose acts any of them may be liable, regardless of whether or not it is caused in part by a party indemnified hereunder.  Such obligation shall not be construed to negate, abridge, or otherwise reduce and otherwise exist as to any party or person described in this paragraph.

- In any and all claims against the Owner or any of their agents or employees by any employee of the CONTRACTOR, any subcontractor, anyone directly or indirectly employed by any of them or anyone whose acts any of them may be liable, the indemnification obligation under this paragraph shall not be limited in any way by any limitation on the amount or type of damages, compensation or benefits payable by or for the CONTRACTOR or any subcontractor under worker’s workmen’s compensation acts, disability benefit acts or other employee benefit acts.

- Scott County reserves the right to reject any or all bids or proposals submitted without cause.  Further, Scott County reserves the right to re-bid or re-solicit for proposals for this project at any time in the future.  By submitting a proposal or bid each CONTRACTOR acknowledges these rights and authorizes Scott County to exercise them should the situation warrant.