REQUEST FOR BID

Scott County Facility & Support Services is requesting quotations for testing and inspection for building fire sprinkler systems.  This contract will encompass all annual testing and inspection per National Fire Protection Association guidelines.  Duration of contract will be from July 1, 2006 to June 30, 2008.  Billing will be on an annual basis.

Qualified vendors must be able to supply and install replacement parts for all systems at an additional cost.  OEM or NFPA approved equivalent parts must be used for all replacements.  All parts installed must meet all applicable codes and requirements.  Qualified vendors should submit current labor rates and typical service costs for the following work:

- Replacement of one full flow, full coverage sprinkler head, including escutcheon trim ring;

- Replacement of one main flow switch;

- Replacement of outdoor gong.

Systems included in this quotation are:

- Scott County Courthouse – lower level only; pre-action dry system; 20,000 square foot coverage.

- Scott County Jail – full building wet and dry system; 45,000 square foot coverage on 4 floors.

- Bi-Centennial Building – full building wet system; 75,000 square foot coverage on 6 floors.

- Scott County Tremont Substation – full building wet system; 52,000 square foot coverage on one level.

- Scott County Juvenile Detention Center – west building dry system; 12,000 square foot coverage on one level.

- Scott County Planning and Zoning – east building wet system; 5,000 square foot coverage on one level.

Vendors must guarantee 24-hour response for service calls at all times.  Provisions for overtime on after business hours service calls must be addressed in the quotation.

Bids should be submitted no later than 2:00 p.m. June 16, 2006.  Quotations may be faxed, mailed or hand delivered (fax number 563-326-8246).

The systems can be viewed by contacting Mark Kendall, Scott County Facility and Support Services, 563-326-8287 for an appointment.

Insurance Requirements

The Contractor shall have in force during the period of this contract, insurance as listed below:

A.	Bodily Injury and Property Damage Insurance:  The CONTRACTOR shall take out and maintain during the life of this contract, bodily injury and property damage liability insurance under a comprehensive general form and automobile injury and property damage insurance under a comprehensive general form.

The required limits of this insurance shall not be less than:

General Liability:

Personal Injury - each person			$1,000,000

Personal Injury - each occurrence		           $1,000,000

Personal Injury - Aggregate			           $1,000,000

Personal Damage - each occurrence including

Broadform Liability Extension	$1,000,000

Automobile Liability - Owner, Non-Owned and Hired

Vehicles:

Personal Injury - each person			$1,000,000

Personal Injury - each occurrence		           $1,000,000

Personal Damage - each occurrence		$1,000,000

The above insurance shall cover the contractor's employees, the public and Scott

County employees while in the buildings and on the grounds of Scott County.

B.	Certificates of Insurance:  The CONTRACTOR shall deliver to Facility & Support Services , Scott County Bi-Centennial Building, 428 Western Avenue, Davenport, IA, certificates of insurance covering all above insurance in duplicate.  Such certificates shall provide ten days prior notice by registered mail of any material change in, or cancellation of this insurance.  Contractor shall maintain this coverage on a standard CGL form for the benefit  of Owner and the general public throughout the term of this agreement, and if a carrier or policy is changed, CONTRACTOR shall provide Owner with a replacement Certificate of Insurance.

- Contractual liability Insurance:  The CONTRACTOR shall take out and maintain during

the life; of this contract, liability insurance.

- Products and Completed Operations Liability Insurance:  The CONTRACTOR shall also

take out Products and Completed Operations Liability Insurance of limits not less than any of the above limits specified in these qualifications.

E.	Workmen's Compensation and Employer's Liability:

- The CONTRACTOR shall maintain during the life of this contract, the statutory

workmen's compensation and employer's liability insurance for all his employees to be engaged in the maintenance work under the contract.

- The amount of Employer's  Liability Insurance shall not be less than One Million

(1,000,000).

INDEMNIFICATION

- To the fullest extent permitted by law, the CONTRACTOR shall indemnify and hold

harmless the Owner and their agents and employees from and against all claims, damages, losses and expenses, including but not limited to attorney's fees, arising out of or resulting from the performance of the WORK, provided that any such claim damage, loss or expense (1) is attributed to bodily injury, sickness, disease or death or to injury to or destruction of tangible property (other than the WORK itself) including the loss of use resulting therefrom, and (2) is caused in whole or in part by any negligent act or omission of the CONTRACTOR and subcontractor, anyone directly or indirectly employed by any of them or anyone for whose acts any of them may be liable, regardless of whether or not it is caused in part by a party indemnified hereunder.  Such obligation shall not be construed to negate, abridge, or otherwise reduce and otherwise exist as to any party or person described in this paragraph.

- In any and all claims against the Owner or any of their agents or employees by any employee of the CONTRACTOR, any subcontractor, anyone directly or indirectly employed by any of them or anyone whose acts any of them may be liable, the indemnification obligation under this paragraph shall not be limited in any way by any limitation on the amount or type of damages, compensation or benefits payable by or for the CONTRACTOR or any subcontractor under workers' or workmen's compensation acts, disability benefit acts or other employee benefit acts.

C.	Scott County reserves the right to reject any or all bids or proposals submitted without cause.  Further, Scott County reserves the right to re-bid or re-solicit for proposals for this project at any time in the future.  By submitting a proposal or bid each CONTRACTOR  acknowledges these rights and authorizes Scott County to exercise them should the situation warrant.